## Slide 1: Exercise 3.68
Created by Sanna Vedrine ’23
Edited by Austin Vollweiler ’24
Lauren de Silva ’25
Sean McInnis ‘26

## Slide 3
Saves over 20 million kWh per year versus previous cooling methods!
  Enough to continuously supply 2,500 homes in Tompkins County!
  85% reduction in energy use for campus cooling

## Slide 4: Part A
  Estimate flow rate of chilled water needed to cool 4*104 m3/min air from 90 °F to 68 °F

## Slide 5
1
Air at 90 °F
4*104 m3/min
Cooler
Air at 68 °F
4*104 m3/min
Water at 45 °F
Water at 60 °F
? gal/min
? gal/min
2
3
Heater
4
qair

## Slide 6
1
Air at 90 °F
4*104 m3/min
Cooler
Air at 68 °F
4*104 m3/min
Water at 45 °F
Water at 60 °F
? gal/min
? gal/min
2
3
Heater
4
Energy balance arround the cooler
qair
Let’s solve for qair

## Slide 7
Let’s solve for qair
Rate of energy in = rate of energy out
q1 = qair + q2
qair = q1 - q2
qair = - (q2 – q1)
qair = - FT,1 CP,air (T2 – T1)
qair = -
qair =
(1) Conservation of energy
(2) Rate of energy transfer
(3) Solving for qair

## Slide 8
1
Air at 90 °F
4*104 m3/min
Cooler
Air at 68 °F
4*104 m3/min
Water at 45 °F
Water at 60 °F
? gal/min
? gal/min
2
3
Heater
4
Energy balance arround the heater
qair
Now let's look at side that’s warming

## Slide 9
Rate of energy in = rate of energy out
q3 + qair = q4
qair = q4 – q3
qair = Fwater CP,water (T4 – T3)
(
(5) Rate of energy transfer
(4) Conservation of energy
(6) Solving for Fwater

## Slide 10
(7) Converting eq (6) to gal/hr
Notes: because the air loses energy when it cools

## Slide 11: Part B
In addition to cooling the air from 90°F to 68°F we will now also consider condensation of water vapor at 68°F

## Slide 12
1
Air at 90 °F, 90% Humidity
4*104 m3/min
Cooler
Air at 68 °F, 50% RH
4*104 m3/min
Water at 45 °F
Water at 60 °F
? gal/min
? gal/min
2
3
Heater
4
Condenser 68°F
1a
Air at 68 °F, 90% Humidity
4*104 m3/min
qcondense
qcool
qair

## Slide 13: Calculating Δqair
Temperature change at constant phase
Phase change at constant temperature
= 3.80 x 1010 Joules/hour
From Part A:
qair = qcool + qcondense
qcool = Δq1a  1
qcondense = Δq21a

## Slide 14: Calculating Δqair
Calculate rate water is condensed from air (Fcondense)
Calculate rate energy released from vapor condensation (Δqcondense)

## Slide 15: Calculating Δ qair
= 3.80 x 1010 Joules/hour
= 1.62 x 1011 Joules/hour
qair = ( 3.80 x 1010 + 1.62 x 1011 ) Joules/hour
qair = 2.00 x 1011 Joules/hour
condensing is 4 times as energy intensive as cooling !
Air Conditioning
Notes: This is why these units are called ‘air conditioners’ and not ‘air coolers’. ‘Conditioning’ the air (reducing the humidity) is more important than just cooling the air, which would generally yield cool air with 100% humidity, which is not comfortable.

## Slide 16
1
Air at 90 °F, 90% Humidity
4*104 m3/min
Cooler
Air at 68 °F, 50% RH
4*104 m3/min
Water at 45 °F
Water at 60 °F
? gal/min
? gal/min
2
3
Heater
4
Condenser 68°F
1a
Air at 68 °F, 90% Humidity
4*104 m3/min
qcondense
qcool
qair

## Slide 17
Rate of energy in = rate of energy out
q3 + qair = q4
qair = (q4 – q3)
qair = Fwater CP,water (T4 – T3)
(1) Conservation of energy
(2) Rate of energy transfer
(3) Solving for qair
(
( 2.00 x 1011 Joules/hour)

## Slide 18
(7) Converting eq (6) to gal/min
Notes: because the air loses energy when it cools

## Slide 19: Part C
Estimate flow rate of water from Cayuga Lake needed to cool the circulating water from 60°F to 45°F

## Slide 20
60 °F
45 °F
40 °F
50 °F
Notes: 1. draws water

## Slide 21
1
Water at 60 °F
1.53*106 gal/min
Cooler
Lake water at 40 °F
Lake water at 50 °F
? gal/min
? gal/min
2
3
Heater
4
Water at 45 °F
1.53*106 gal/min

## Slide 22: Calculating Flake water

## Slide 23
1
Water at 60 °F
1.53*106 gal/min
Cooler
Lake water at 40 °F
Lake water at 50 °F
? gal/min
? gal/min
2
3
Heater
4
Water at 45 °F
1.53*106 gal/min
2.3 x 106 gal/min
2.3 x 106 gal/min

## Slide 24: Takeaways
HXs can be broken down into smaller units!
  such as heaters, coolers, condensers…
Think about the direction in which heat is flowing
  Check signs!
  Δq < 0 for cooling
  Δq > 0 for heating
Pay attention to units!
Notes: Break down complicated processes into simple units.
Check your signs/directionality!
  Is heat entering or leaving the stream?
    Coolers/Condensers → Heat is leaving
    Warmers/Melters/Vaporizers → Heat is entering
Units!
  kJ vs. J
  kg vs. moles (heat capacities)